# Talking Bathroom Scales

**ES0365 & ES0366**

**Product Instructions**

Thank you for choosing this product. Before using products for the first time, please read carefully the instruction manual for operating and keep it for future reference.

**General description**

The Talking Bathroom Scale is a great addition to someone’s bathroom who is blind or has low vision. A friendly voice announces weight in kilograms, pounds or stone while the weight is also displayed on an LCD screen. The scale requires three AAA batteries (included).

## Features

* English speaking voice
* Tempered glass platform
* Capacity 180kg
* LCD size 73x29mm white font with a black background backlight
* Auto off function
* Over load indication
* Low battery indication
* 2x AAA batteries

## Product Specifications

1. High precision strain gauge sensor
2. Max Capacity:180kg/3961bs
3. Division: 0.05kg/0.11b or 0.1kg/0.21b
4. Unit: kg/lb/st: lb
5. Auto on &Auto off
6. Low power & Overload indication

**Power Supply**

Battery:1.5V AAA - Please install the battery correctly on the back.

**Operation**

Step 1 Put the scale on the hard and flat floor, in order to get the accurate result.

Step 2 Please step on glass platform of the scale and Stand as still as possible until the weight data is shown on the display. That data is your weight.

Step 3 After show your weight, scale will talking weight result.

**Please Note The data will be not accurate if you use it before the display shows "o.o”. Please wait until it turn to zero and then start step 2)**

**Automatic Switch Off**

After finishing the use of this scale, it will automatically switch off and after clearing the record it will also automatically turn off in 5 seconds if without any operation.

**Error Codes**

LO – When the display indicates LO– please open the battery cover and replace the new battery with correct polarity and negative.

OL – Maximum capacity exceed when the scale is overloaded (over 180kg) OL will appear on the screen.

**Advice for Use and Care**

* Please place the scale on a hard and flat surface when in use to ensure the greatest accuracy and the service life.
* Clean the scale with a wet cloth, but do not allow water to seep into the unit and body scale.
* Please remove the battery from the scale if it has not been used for a long period.
* Do not stack anything on the scale during non-use
* Never use abrasive cleansers or chemical solvents, as they may cause damage.
* Do not put the scale on upright position, only appropriate flat.
* Do not drop or beat the scale, this may damage the sensor and glass.
* To ensure the life of the scale, please do not put in a wet or hot environment
* If the scale does not work, please check the battery and ensure the battery is with correct polarity. Please check if the battery needs to be changed when the scale has been used regularly, replace battery and try to start again.
* This scale is for family use only and should not be used commercially for any reason at all.
* Please do not open the rear cover if the user is not professional.
* To switch weight unit exchange display between kilograms (kg) and pounds (lb), please press "Set/Unit" button located on the bottom of the scale.